## Table 15
Table 15. Organic Compound Concentrations by Boiling Point and Cyclic Siloxanes in PSHR2 (November 30, 2023)
Compound Group | Travel Blank | PSHR2 | Detection Limit
| (ng/L) | (ng/L) | (ng/L)
Organic Compounds by Boiling Point
Low boiling point compounds | 0.69 | 6.9 | 0.02
Medium boiling point compounds | 0.1 | 9.9 | 0.02
High boiling point compounds | * | 3 | 0.02
Total Organic Compounds | 0.79 | 20 | 0.6
Phthalate Esters
DEP (Diethyl phthalate) | * | * | 0.07
DBP (Dibutyl phthalate) | * | * | 0.07
DEHP (Di(2-ethylhexyl) phthalate) | * | * | 0.07
Total Phthalate Esters | * | * | 0.21
Cyclic Siloxanes
D3 (Octamethyltrisiloxane) | * | 0.11 | 0.02
D4 (Decamethylcyclotetrasiloxane) | * | 0.15 | 0.02
D5 (Dodecamethylcyclopentasiloxane) | * | 0.71 | 0.02
D6 (Tetradecamethylcyclohexasiloxane) | * | 0.08 | 0.02
Total Cyclic Siloxanes | * | 1.1 | 0.08
Notes:
1: (*) indicates data below the detection limit (D.L)
2: Low boiling point compounds (Boiling temperature: ~150°C), medium boiling point compounds (Boiling temperature: 150°C–300°C), high boiling point compounds (Boiling temperature: above 300°C).
3:: Phthalate ester components: DEP (Diethyl phthalate), DBP (Dibutyl phthalate), DEHP (Di(2-ethylhexyl) phthalate). *3: Cyclic siloxane components: D3 (Octamethyltrisiloxane), D4 (Decamethylcyclotetrasiloxane), D5 (Dodecamethylcyclopentasiloxane), D6 (Tetradecamethylcyclohexasiloxane). The presence of specific components was confirmed through mass spectrometry comparison of unique detection results and matching with standard substances. Phthalate ester components (DEP, DBP, DEHP): m/z 149
4: Cyclic siloxane components: D3 (m/z 207), D4 (m/z 281), D5 (m/z 371), D6 (m/z 341).